## Slide 1: ELE4909 Traction and Drives
Motor Control Circuits

## Slide 2: Motor Control Circuits
Identify and application of electrical components
Recognize terminology and symbols of control wiring diagram
Select suitable electrical components for installing motor control circuits
Apply the wiring technique to Install motor control circuits
Apply the technique for the testing and fault finding of motor control circuits

## Slide 3: Control Panel

## Slide 4: Protection and Components
Overcurrent protective devices
Electrical control components

## Slide 5: Overcurrent Protective Devices
Moulded Case Circuit Breaker, MCCB
Miniature Circuit Breaker, MCB
Fuse-switch
Fuse

## Slide 6: Overcurrent Protective Devices

## Slide 7: Electrical control components
Magnetic contactor
Thermal overload relay
Auxiliary relay
Delay timer
Push Button Switch
Selector switch
Indication lamp
Sensors (e.g. water level, water pressure and limit switch etc.)

## Slide 8: Electrical control components

## Slide 9: Magnetic Contactor
Main contacts, 3-pole or 4-pole, rated current capacity from 20A to 800A
Auxiliary contacts, rated current capacity 5A
Coil voltage: AC 24V – 380V and DC 24V – 110V

## Slide 10: Magnetic Contactor
Parts of magnetic contactor

## Slide 11: Magnetic Contactor
Magnetic contactor c/w thermal overload relay

## Slide 12: Thermal Overload Relay
Heat element, rated current capacity from 2A to 200A
Auxiliary contact, 5A

## Slide 13: Thermal Overload Relay
Picture shows the inside parts

## Slide 14: Auxiliary Relay

## Slide 15: Delay Timer Relay

## Slide 16: On-delay Timer Relay

## Slide 17: On-delay Timer Relay

## Slide 18: Off-delay Timer Relay

## Slide 19: Control Switch and Indication
Push Button Switch
Selector switch
Indication lamp

## Slide 20: Push Button Switch

## Slide 21: Selector switch

## Slide 22: Indication lamp

## Slide 23: Sensors
Pressure switch
Level flow sensor and switch
Limit switch

## Slide 24: Control Wiring Diagram
Components’ Terminology
and
Symbols

## Slide 25: Symbols
Type | Device | Symbol | Word
Circuit breaker | MCB / MCCB |  | MCB / MCCB
Switch (Isolator) | 3-pole switch |  | QS
Fuse-switch | 3-pole Fuse-switch |  | QF

## Slide 26: Symbols
Type | Device | Symbol | Word
Fuse | Fuse |  | FU
Link | Neutral link |  | NK
Contactor | Coil |  | KM

## Slide 27: Symbols
Type | Device | Symbol | Word
Contactor | Main contact |  | KM
Contactor | Auxiliary contact (normal open) |  | KM
Contactor | Auxiliary contact (normal close) |  | KM

## Slide 28: Symbols
Type | Device | Symbol | Word
Auxiliary relay | Coil |  | KA
Auxiliary relay | Auxiliary contact (normal open) |  | KA
Auxiliary relay | Auxiliary contact (normal close) |  | KA

## Slide 29: Symbols
Type | Device | Symbol | Word
Thermal overload relay | Heat element |  | FR
Thermal overload relay | Normal open contact |  | FR
Thermal overload relay | Normal close contact |  | FR

## Slide 30: Symbols
Type | Device | Symbol | Word
On-delay timer relay | On-delay coil |  | KT
On-delay timer relay | On-delay contact (N.O.) |  | KT
On-delay timer relay | On-delay contact (N.C.) |  | KT

## Slide 31: Symbols
Type | Device | Symbol | Word
Off-delay timer relay | Off-delay coil |  | KT
Off-delay timer relay | Off-delay contact (N.O.) |  | KT
Off-delay timer relay | Off-delay contact (N.C.) |  | KT

## Slide 32: Symbols
Type | Device | Symbol | Word
Push button switch | Normal open contact |  | SB
Push button switch | Normal close contact |  | SB
Push button switch | Combine contact |  | SB

## Slide 33: Symbols
Type | Device | Symbol | Word
Push button switch | Emergency stop switch (self-lock) |  | SB
Selector switch | Selector switch |  | SA
Indication | Indication lamp |  | L

## Slide 34: Symbols
Type | Device | Symbol | Word
Limit switch | Normal open contact |  | SQ
Limit switch | Normal close contact |  | SQ
Limit switch | Combine contact |  | SQ

## Slide 35: Symbols
Type | Device | Symbol | Word
Motor | 3-phase AC induction motor |  | M
Motor | 3-phase AC slip-ring induction motor |  | M
Transformer | Auto-transformer |  | Tx

## Slide 36: Control Wiring Diagram
The diagram that divided into two parts
Main wiring
Control wiring
Read the diagram from top to down, then left to right

## Slide 37: Control Wiring Diagram
Other type of symbols

## Slide 38: Workmanships

## Slide 39: Motor Control Circuits
Motor Starting Methods
for
3-ph AC Induction Motor

## Slide 40: Induction Motor Starting Methods
Direct on line starter
Star-delta starter

## Slide 41: 3-ph AC Induction Motor
Motor name plate

## Slide 42: Relevant CoP Requirement
Refer to CoP code 26C(3)

## Slide 43: Direct on line starter

## Slide 44: Star-delta Starter
3-ph Induction Motor Winding

## Slide 45: Star-delta Starter
Motor terminal

## Slide 46: Star-delta Starter
Current/speed characteristics
Torque/speed characteristics

## Slide 47: Star-delta Starter

## Slide 48: Motor Control Circuits
Rotate Direction
for
3-ph AC Induction Motor

## Slide 49: Change Rotate Direction
Interchange any two of the supply cables
To prevent mal-operation, provide interlock device/circuit is necessary

## Slide 50: Interlock Device
Interlock by auxiliary contact
Mechanical interlock

## Slide 51: Forward/Reverse Starter

## Slide 53: IGBT VVVF

## Slide 54: Pantograph to motor

## Slide 55: IGBT component

## Slide 57: Rectifier to inverter